Faecal genetic  analysis to determine the presence and distribution of elusive carnivores: design and feasibility for the Iberian lynx

F. PALOMARES ,* J. A. GODOY ,* A. PIRIZ * and S. J. O’BRIEN † and W.  E. JOHNSON †

*Department of Applied Biology, Estación Biológica de Doñana, CSIC, Avda. María Luisa s/n, 41013, Sevilla, Spain,

†Laboratory of Genomic Diversity, National Cancer Institute-FCRDC, Frederick, USA

Abstract

Noninvasive methods using  genetic  markers have been suggested as ways to overcome difficulties associated with documenting the presence  of elusive species. We present  and assess  a novel,  reliable  and  effective molecular  genetic  technique for the  unequivocal genetic  identification of faeces  from the endangered Iberian lynx (Lynx pardinus).  From mitochondrial DNA  (mtDNA) cytochrome b and D-loop  region  sequences, we  designed four species-specific primers  (for products  130 –161 bp long)  that were  considered to be likely to amplify degraded  DNA.  We compared  two  DNA  extraction  methods, various DNA amplification conditions and the robustness and specificity of the primer pairs with

87 lynx samples from 5 potentially different lynx populations and with 328 samples of other carnivore species. The utility  of the identification technique was tested  with  faeces  of different  ages,  with  faeces  from controlled field  experiments, and with  faeces  collected from locales with possible lynx populations from throughout the state of Andalusia, Spain (8052 km2).  Faecal mtDNA extraction  was  more  efficient using  PBS wash  of  the  faeces instead  of a faeces homogenate. Our assay increased  from 92.6 to 99% efficiency with a second  amplification and a reduction  in template  concentration  to overcome  polymerase chain reaction (PCR) inhibition. Our assay never produced  false  positives, and correctly identified all lynx faeces. Of 252 faeces samples of unknown species collected  throughout Andalusia, 26.6% (from three different  areas) were classified as Iberian lynx, 1.4% showed evidence of PCR inhibition and 1.2% were of uncertain origin. This method has proven to be a reliable  technique that can be incorporated  into large-scale  surveys  of Iberian lynx populations and exemplifies an approach that can easily  be extended to other species.

Keywords: cytochrome b, D-loop, faecal DNA, genetic  analyses, Iberian  lynx, mitochondrial DNA

markers, presence and distribution

Introduction

Documenting the presence and abundance of species is the first step  in designing conservation plans  for endangered species  and  in understanding population ecology.  How- ever,  in many  cases  this  is not  an easy  task  because indi- viduals are difficult  to detect  and  methods requiring the capture and  handling of animals are not feasible  owing  to logistical and ethical problems. This problem is particularly

Correspondence: F. Palomares. Fax: +34 954 621 125; E-mail:

ffpaloma@ebd.csic.es

acute  for  carnivores and  endangered species,  which  are usually scarce, live in low densities, and  have elusive  and secretive habits.

Methods of noninvasive sampling of animal populations using  genetic  markers are  being  developed to overcome these  problems (Morin  & Woodruff 1996; Kohn & Wayne

1997). However, the emphasis of most studies has been the development and   presentation of  the  molecular tech- nique  (e.g.  Höss  et al. 1992; Tikel  et al. 1996; Foran  et al.

1997a,b; Paxinos et al. 1997). Little attention has been given to the analytical and statistical methods that can validate the  data  obtained (Parker  et al. 1998; Mills et al. 2000a) or

the reliability and utility  of these laboratory techniques for field studies (Schwartz et al. 1998; Taberlet et al. 1999). Only limited attempts to determine the cost, technical difficulty, appropriateness of resulting data  and  sophistication of existing   statistical methods  have  been  carried out  (e.g. Kohn  et al. 1995, 1999; Taberlet  et al. 1997; Wasser  et al.

1997; Ernest et al. 2000; Farrell et al. 2000; Mills et al. 2000b; Mowat & Strobeck  2000). The allure  of utilizing noninva- sive molecular genetic  techniques needs  to be tempered by a thorough consideration of the  trade-offs associated with  different approaches, their  value  for large-scale field studies, and the reliability of the resulting data.  Therefore, comprehensive studies addressing the  complexities of the  laboratory and  field  methods are  needed before  the widespread use of any of these techniques.

Here,  we present a novel,  reliable  and  highly  effective molecular genetic technique for the unequivocal identifica- tion of DNA from material derived from a scarce and elusive felid species, the Iberian lynx (Lynx pardinus). We focus on the general feasibility and reliability of the technique in deter- mining the distribution of this species through the analysis of faeces, the only sign of lynx that can normally be found in the field. Conceptually, this study had three main goals, consisting of the development, laboratory testing  and field implementation of a method to identify Iberian  lynx.

The  main   requirement for  a  molecular technique  or assay for the identification of Iberian lynx was that it could be applied to degraded and  scarce DNA, such  as that obtained from  faeces.  The  ideal  assay  would be reliable and unambiguous, but also simple and economical enough for routine application with a large number of samples. We chose an approach based on the species-specific amplifica- tion of lynx mitochondrial sequences. We tested and  opti- mized the technique in the laboratory, and determined the effect of age and the condition of the faecal material had on the  efficiency  and  accuracy of the  technique. Finally,  to assess the general utility  of the technique we conducted a pilot study to determine the distribution of Iberian  lynx in Andalusia, an area of 8052 km2  in the south of the Iberian Peninsula where the  highest number of Iberian  lynx  are thought to exist (Rodríguez & Delibes 1992).

The Iberian lynx is the most endangered felid species in the world (Nowell & Jackson  1996). It is estimated that  there are fewer than  1000 individuals distributed in fragmented areas of the southwestern portion of the Iberian  Peninsula (Rodríguez & Delibes 1992; Castro & Palma 1996). However, geographical limits and actual population sizes are not well known because they are nocturnal animals that inhabit areas of low human density and  grounds that  do not allow  for tracking them (Beltrán & Delibes 1994; Palomares et al. 2000). This situation imposes several logistical and legal impediments for implementing and monitoring lynx conservation plans. Precise  estimates of lynx  distribution, metapopulation structure and  persistence have  only  been  possible in the

Doñana National Park  area,  where radiotracking studies have been conducted for more  than  15 years (e.g. Ferreras et al. 1997; Palomares et al. 2001) and  sandy soils allow for easy identification of the species by tracks (Palomares et al.

1991; Gaona et al. 1998). However, in the rest of its potential distribution area, the most common substrates are not amen- able to track  identification, and  faeces are the most  visible sign of the animals. Unfortunately, faeces identification is not easy and lynx faeces may be confused with other species such as wild  cats (Felis silvestris), domestic cats (Felis catus), red foxes (Vulpes vulpes) and domestic dogs (Canis familiaris).

Materials and methods

Molecular methods

Sample preservation. Lynx DNA was initially extracted from blood  and  hair  samples from  wild  animals, and  muscle, kidney, skin,  ear,  nose  and  foot  pads   of  specimens from  scientific  collections. Blood  samples were  immedi- ately  mixed  after  collection  with  4 vols  of lysis  buffer (0.1 m Tris−HCl pH 8.0; 0.1 m Na-EDTA; 0.01 m NaCl, 0.5% SDS). Organ  (kidney or muscle)  samples were kept frozen or at room temperature in lysis buffer (see above). Approx- imately  1 cm2   of skin  of museum specimens or  smaller pieces of ear were cut, and internal tissue from nose or the foot pad were scraped with a sterile scalpel after superficial cleaning with  10% commercial bleach,  distilled water and

70% ethanol. These samples were kept in dry and cool con- ditions. Hairs were stored in clean paper envelopes at room temperature in silica gel.

DNA  isolation. DNA   extractions  were   carried  out   in  a dedicated room.  Extraction blanks  were  included to monitor for contamination. DNA  from  blood,  muscle  or kidney samples was extracted using a proteinase k/phenol protocol (Sambrook et al. 1989). DNA from lynx skin pieces from scientific collections was extracted using  the same protocol, but  was  first washed extensively in excess NTE (0.05 m Tris−HCl,   0.01 m NaCl,   0.02 m EDTA,  pH 9.0; Goetz et al. 1985) and GTE (0.1 m glycine, 0.01 m Tris−HCl, pH 8.0,  1 mm  EDTA;  Shedlock   et al.  1997)  to  remove enzyme inhibitors (Hall et al. 1997). DNA  from  hairs  was extracted using a Chelex-100 protocol (Walsh et al. 1991) as described by Gagneux et al. (1997). Faecal  DNA  extracts were also prepared with Chelex-100, using two alternative strategies (see below).

Polymerase chain reaction (PCR). DNA  amplification reac- tions contained 67 mm Tris−HCl pH 8.0, 16 mm (NH4)2SO4,

2.5 mm MgCl2,  0.01% Tween-20,  0.2 mm dNTPs, 1 µm of

each primer, 0.5 U of Taq DNA polymerase and 50 –100 ng

of total  DNA  from  blood,  5 µL of museum (not  organs)

serum albumin (BSA) was  included at a concentration of  0.1 µg/µL   for   amplification  of  blood   DNA   and

0.8 µg/ µL for museum, hair and  faecal DNA (see below). Amplification reactions were  performed in a MJ Research thermocycler, Model  PTC-100 programmed for an initial denaturation cycle of 94 °C for 2 min, followed by 35 cycles of denaturation at 92 °C for 30 s, annealing at 55 – 67.5 °C (depending on  primers and  tests;  see  below)  for  30 s, and extension at 72 °C for 30 s. All reactions were finished with  a final  extension at  72 °C for  5 min.  To control  for performance of the process  and  contamination, positive (diluted blood DNA) and negative DNA controls, respect- ively, were  included with  each set of PCR. An additional negative extraction control  was  included in every  ampli- fication of hair, museum or faecal extracts.

Amplification products were  separated by electro- phoresis in 2– 3% agarose gels in TBE buffer  (89 mm Tris base,  89 mm boric  acid,  2 mm EDTA) in the  presence of

0.5 mg/L EtBr. Gels were visualized under UV and photo- graphed with  a digital image  system (Eastman Kodak Company).

DNA  sequencing. PCR  products were   cleaned  by  ultra- filtration through  Centricon-100 (Millipore Corp.)  and sequenced on an automated DNA sequencer (ABI-377) using the BigDye Terminator Cycle Sequencing Kit following the manufacturer’s instructions (Applied Biosystems, Inc.). Sequences were  edited, assembled and  aligned using  the program sequencher (Gene Codes Corporation).

Design and evaluation of PCR-based lynx-diagnostic assay

In order  to design species-specific primers mitochon- drial  DNA  (mtDNA) sequences  were  obtained. Both the highly  variable domain 1 of the control  region  (CR) and   a  fragment  of  the  cytochrome b  (Cytb)  gene   were targeted. Control region  hypervariable domain 1 was amplified and  sequenced from  two  domestic cats, two wild cats and three Iberian lynx (GenBank Accession nos. AJ441317−441320, AJ456977−456979) using   primers CR1 (5′-CCACTATCAGCACCCAAAGC-3′) and CR2R (5′- CCCGGAGCGAGAAGAGG-3′), designed  to match  con- served flanking sequences at the tRNA-Pro and the central conserved region,  respectively. Sequences were aligned to the corresponding region  of the cat mitochondrial genome (GenBank   Accession   no.  NC_001700;  López  et al. 1996). Cytochrome b  sequences  were   obtained  from   different iberian carnivore species  (Iberian  lynx, domestic cat, wild cat,  red  fox, wolf,  Canis lupus,  domestic dog,  European genet,  Genetta genetta, stone  marten, Martes foina, and Egyptian mongoose, Herpestes ichneumon),  European rabbits   (Oryctolagus  cuniculus;  the   main   prey   of  lynx;

2 ( Janczewski et al. 1995) for  both  PCR and  sequencing. Sequences were  deposited in GenBank  (Accession  nos AJ441328−AJ441340).

Interspecific sequence differences in  control  region  or cytochrome b were  used  to  design lynx-specific primers that  could  be used  in a diagnostic PCR of faecal material. Six  lynx  specific   primers  were   designed  so  that   they matched several  lynx  specific  bases  at  its  3′-end (Kwok et al. 1990). Four  primer pairs  were  consequently selected to amplify Iberian  lynx mtDNA but not other  species.  To maximize the probability of amplification from degraded DNA  primer pairs  were  designed to  amplify fragments

< 200 bp.  The  optimal  annealing  temperatures  for  the exclusive amplification of lynx DNA was selected  for each primer pair  after testing  temperatures ranging from 55 to

67.5 °C in 2.5 °C increments on a set of carnivores species (four  Iberian  lynx, two  domestic cats, two  wild  cats, two red foxes, one wolf, one domestic dog, two Eurasian badgers, Meles meles, two  European genets,  one stone  marten, one pine  marten, Martes martes, one Egyptian mongoose, one polecat,  Mustela putorious, and  one weasel,  Mustela nivalis, and  one Eurasian otter,  Lutra lutra), and  one rabbit  and one human samples. The usefulness of the diagnostic ampli- fication  assay  might be compromised by the occurrence of intraspecific polymorphisms that  could  prevent the amplification of the  diagnostic product in  some  indi- viduals, resulting in false negatives. We tested the robust- ness of the assays with 87 lynx from 5 potentially different lynx populations (Appendix I). However, polymorphisms in other  species,  especially in closely related felid species, could result in false positives. In addition, the specificity of these PCR-based lynx diagnostic assays was further evalu- ated  by applying them  to good  quality samples of a large and diverse set of individuals of different carnivore species from the Iberian  Peninsula coming  from as broad a distri- bution as possible, so as other  three lynx species (Eurasian lynx, Lynx lynx, Canadian lynx, Lynx canadensis and bobcats, Lynx rufus; Appendix I).

Testing the suitability of the molecular markers for faecal samples

Optimization of faecal molecular analysis. A small portion (3 –

5 cm  long)  of the  faeces  was  removed and  immediately stored at ambient temperature in a paper envelope sur- rounded  by  excess  silica  gel  with   moisture  indicator (Wasser et al. 1997), which  was replaced as needed.

We compared two different Chelex-100 faecal DNA extraction methods (Walsh et al. 1991). In the first, ≈70 mg of the external part  of dried faeces was washed with 1 mL of 70% ethanol, followed by  two  washes with  1 mL  of double-distilled water.  In each  wash  faecal  material was

for 5 min,  and  the  supernatant discarded. Following the

last wash, the faecal sediment was resuspended in an equal volume of 10% Chelex-100  solution, incubated at  56 °C overnight and  boiled  for  5 min.  After  centrifugation at

16 000 g for 5 min, the supernatant was transferred to new tube and stored at −20 °C until further use. With the second method, the  sample was  superficially washed by  gentle incubation in  350 µL of phosphate-buffered saline  (PBS) once to isolate  exfoliated colonic epithelial cells (Flagstad et al. 1999); sample disruption and  homogenization was avoided. Subsequently, 200 µL of supernatant was  trans- ferred  to a new tube, 200 µL of 10% Chelex-100 was added and from this point onward the sample was processed as in the first method. The efficiency of each method was com- pared with  37 lynx faeces. PCR were  carried out  with  35 cycles, 1 µm of primer, 5 µL of template DNA, and 0.8 µg/

µL of BSA.

The primer pair DL7F/CR2bR was used to assess differ- ent aspects  of the faecal identification technique as it con- sistently amplified well across both good and poor quality samples (see Results).  As the  marker DL7F/CR2bR was designed using  DNA extracted from blood, we first tested whether the results were the same for DNA extracted from blood  and  faecal samples. We compared blood  and  faeces of eight individual lynx which  we had  both types  of sam- ples. The size of the amplified PCR products was identical for blood and faeces samples, although as expected, yields were greater for blood samples (data not shown). The opti- mal  conditions for faecal DNA  amplification were  deter- mined by varying several  reaction parameters. From  a baseline  of 35 cycles,  1 µm of primer, 10 µL of template DNA  and  0.8 µg/µL  of BSA, we  varied the  number of cycles (35, 40 and 45), quantity of primers (0.2, 0.5 or 1 µm), amount of extract  (5, 10 or 15 µL of template DNA),  and BSA concentration (0.1, 0.5 or 0.8 µg/µL), one at a time in PCR of 22 different faeces  samples, except  for BSA tests that were conducted with 8 different samples.

Effect of age of faeces and technique efficacy. Two  experiments were  conducted to test whether age of faeces affected  the efficacy of the  technique. First,  we examined the  type  of faeces  that  would commonly be found in  field  surveys. During three  periods, winter (February), summer ( July) and  autumn (November), 25 lynx faeces were  collected  in a 700-ha area  of the Doñana National Park  (southwesten Spain,  37°9′ N, 6°26′ W), where we have  been  intensively monitoring Iberian  lynx for more than  7 years (Palomares et al. 2001). We are  confident that  these  faeces  samples were  from  lynx as there  are no domestic or wild  cats in the area.  Summer is usually very  dry  and  hot, autumn is cooler and  wet, and  winter is the coldest  period. Each collected  faeces sample was assigned one of three possible age  categories: fresh,  medium and  old.  We classified as

odour and  no  insect  degradation. Medium samples had

some odour and  limited insect degradation. Old faeces samples had no smell and had clear insect degradation. We estimated that  faeces in these  categories were  < 4–5 days old, 5–15 days old, and older than 15 days, respectively.

In the second experiment we periodically collected small portions of 11 different faeces  samples from  7 different lynx  captured during a trapping season  carried out  in February 1999 in Valquemado (Sierra  Morena, 38°15′ N,

4°9′ W), and  one free-ranging lynx which  we saw to defe- cate in February 1999 while  collecting  faeces  in Doñana. For each faeces sample, we collected  and  conserved, as described above,  a portion within the first 24 h, and  new portions at the  end  of 1, 2, 3 and  4 weeks  and  at 2 and

3 months. After the first sampling at < 24 h old, all faeces was kept  at − 70 °C until  set in outdoor conditions to con- tinue  with  the experiment. An extraction and  one ampli- fication  were  undertaken for the faeces collected  from the field, and  two extractions and  two amplifications per extraction were undertaken in the controlled experiment.

Estimates of the frequency of false negatives were obtained from the same series of extraction/amplification experiments testing  for the effect of faeces age. There was a total  of 7 such  extraction/amplification  experiments: 3 with  69 samples and  1 with  67 faeces  or faeces  portions from the controlled experiment, and 3 with 25 faeces from the  field  samples collected  in Doñana (see above).  From these  data  we were  also able to estimate the frequency of PCR inhibition. Inhibition of PCR was indicated by the absence  of primer dimer in negative amplifications. When PCRs were inhibited, we tried to solve the problem of inhi- bition by using  less template DNA in the PCR (5 and  2 µL when needed).

Specificity of the DL7F/CR2bR marker for faeces identification. Reliability  of the  marker DL7/CR2bR (i.e. possibility of false positives) was also tested by analysing nonlynx carnivore faeces of two origins:  captive or domestic individuals and faeces collected  in the field far away  from the any potential area of lynx presence. In the first case, we collected   a  total   of  90  faeces  samples  of  9  species   of carnivores (Appendix I). In the second case, we collected 10 faeces  samples in each  of 10 sites  in northern Spain,  the closest  of which  was  situated at least  to 300 km from  the estimated 1988 distribution area of lynx (Rodríguez & Delibes 1992). The most common carnivores in these areas were  wild  cats, red  foxes, stone  marten, wolves,  polecats, stoats, Mustela erminea and domestic dogs.

Pilot field study of Iberian lynx in Andalusia

The utility  of the faecal identification technique was tested with  carnivore faeces collected  from throughout the state

Iberian  Peninsula. The location  of faeces diagnosed as positive (black) and  negatives (open)  during systematic (circles) and  non- systematic (squares) surveys. Star indicates the location  of the Doñana National Park. Shaded areas  are  the  patches identified by Rodríguez & Delibes (1992) as probable lynx areas. Lines indicate provincial limits.

of Andalusia (south  Spain;  Fig. 1) between February and August 1999. Our aim was not to exhaustively survey the region for lynx, but instead to apply the technique through sampling a wide area in which lynx should be present only in some parts  (Fig. 1; Rodríguez & Delibes 1992). For that, we planned systematic surveys for 73 natural areas  with potential lynx habitats (see Palomares et al. 2000). In these areas  1–3 people walked looking for faeces  for at least

4 h. From a total of 193 patches > 400 ha of potential lynx habitat identified in Andalusia using  a geographical infor- mation system (F. Palomares, unpublished data),  25 were randomly selected  and  48 were chosen  because they were the most  likely to have  lynx (Rodríguez & Delibes  1992; see Fig. 1). Faeces were  found in only 28 of the 73 patches during these systematic surveys. Additional samples from these and other  patches were collected  during nonsystem- atic surveys.

Faeces samples collected  in the field to test for the pres- ence of lynx were  analysed as outlined in Fig. 2 using  the primer pair DL7F/CR2bR.

Using  a conservative strategy (i.e. trying to  minimize false positive), we considered as clearly positive only sam- ples  that  yielded PCR products that  were  notably more intense than  those  that  usually were  obtained from  PCR contamination (Fig. 3).

Results

Design and evaluation of a PCR-based diagnostic assay for the Iberian lynx

Four primer pairs (DL7F/CR2bR [CTTAATCGTGCATTAT- ACCTTGT/CCGGAGCGAGAAGAGGTACA], DL1F/

DL5R [TTGCCCAGTATGTCTTCACC/TACATGCTTA- ATATTCATGGGATT], CB4F/CB6R [ACATACATGCCA- ACGGG/GTGGCTATAACTGTAAATAGTAATAG] and CB4F/CB7R [ACATACATGCCAACGGG/TGGTAGGACAT- ATCCTATGAAG]), which  yielded product amplification sizes   of  130,  130,  136  and   161 pb,   respectively,  were designed to amplify Iberian  lynx  mtDNA but  not  other species from the Iberian  Peninsula. The optimal annealing temperatures were  62.5 °C for DL7F/CR2bR and  65 °C for the other  three primer pairs.

Testing  primer pairs on lynx of as diverse origin  as pos- sible, in a first  set of good  quality samples (n = 44) from Doñana and Central population all were positively identi- fied as lynx with all four diagnostic primers. To extend the test to populations for which  good  quality samples were not  available, a total  of 43 lynx  samples of poor  quality from  museum specimens and  hairs  from  wild  animals were  tested (Appendix I). The  four  lynx-specific primer pairs  differed in their  ability  to amplify this  suboptimal material. Whereas DLF/CR2bR detected as positives all poor quality extracts (see Appendix I for localities), the rest of the  primer pairs  failed  to amplify some  samples (suc- cessful amplifications of 16.3% for CB4F/6R,  20.9% for CB4F/7R,  and 51.2% for DL1F/5R).

In  contrast, the  diagnostic amplification product was never  seen  in specimens of the  other  sympatric species analysed, including 8 domestic and 35 wild cats (Appendix I), indicating a high  specificity  for all these  makers. Products of the  expected length  were  obtained from  the other   lynx  species  analysed (Eurasian lynx,  Canadian lynx and  bobcat)  with  primer pairs  DL1F/DL5R and DL7F/CR2bR, but not with  primers CB4F/CB6R  and CB4F/CB7R.

1st Extraction.

Step 1

1st PCR 10 µl:

Positive

2nd Extraction.

Uncertain

samples in any

PCR.

during the field survey for Iberian  lynx in

Andalusia.

Inhibited

Step 2

Negative or

Unclear

Steps 1–6	3rd Extraction.

1st PCR 5 µl:

Positive

Inhibited

Step 3

1st PCR 2 µl:

Inhibited

Negative or

Unclear

Negative or

Unclear

Positive

More

than one positive sample in the area?

No

Yes

PCR 10 µl.

Step 4

2nd PCR 10 µl:

Positive

No more

Analyses.

Step 5

Step 6

Inhibited

2nd PCR 5 µl: Inhibited

Negative or

Unclear

Negative or

Unclear

Positive

No

More

than one positive sample in the area?

Yes

2nd PCR 2 µl:

Positive

Inhibited

Negative or

Unclear

Identification of Iberian lynx faeces

Extraction protocol and PCR optimization. Successful  amplifica- tion  from  faecal  DNA  was  observed from  significantly more  (z = 2.829, P = 0.005) of the DNA  extracts  obtained from  the  PBS wash  (36 of 37 faeces) than  from  a homo- genate  of the faeces (26 of 37 faeces).

Amplification yields were highest using  1 µm of primer,

but specific products were  consistently amplified (100% of  cases)  with   0.5 µm of  primer.  Rates  of  successful amplification  dropped   significantly  (72.7%   of   cases; z = 2.198, P = 0.028) using  0.2 µm of primers. There  were problems of  inhibition (18.2% of  cases)  when we  used

15 µL of template DNA; however, inhibition disappeared when we used  10 or 5 µL of template DNA. Nevertheless, product yields  were  higher and  more  homogeneous with

10 µL. With 45 cycles nonspecific bands and small traces of contamination appeared that  were  not evident with  both

40 and 35 cycles. Band intensity was most consistent using

35 cycles. Finally, although with  all 0.8, 0.5 and  0.1 µg/ µL

Fig. 3 Results  of a PCR with lynx yields  of different quantity. C+

= positive controls;  C− = negative controls;  M = size marker.

of BSA we obtained amplification of lynx DNA, products were highest using 0.8 µg/ µL (data not shown). Therefore, we found that  the optimal PCR condition for lynx faecal samples was  35 cycles,  10 µL of template DNA,  1 µM  of primer and 0.8 µg/µL of BSA.

Effect of faeces age. Seventy-four of 75 putative lynx  faeces samples collected from the field (36 old, 17 medium and 22 fresh)   yielded  the   expected  product  with   diagnostic

Fig. 4 Percentage (mean ± 95% CI) of positive diagnostics for four series  of amplifications of different-aged lynx  faeces. The refer- ence  lines  are  the  mean  (continuous line) and  the  superior and inferior  lines  (broken lines)  the  95% confidence interval around the mean.

primers DL7F/CR2bR. The only  failed  sample (medium- aged)  was inhibited and  was collected  during July. In the controlled age-experiment, the average percentage of pos- itive identifications ranged from 75% (SE = 2.27, n = 4 series of amplifications) for faeces collected  within a few hours after  defecation, to  100% for  faeces  collected  3 months later,  however, the  pattern was  not  clearly  related with age of faeces (Fig. 4). Differences were  due  to problems of inhibition as the average percentages of inhibited samples  inversely  mirrored   percentages  of   positive

diagnostics (r = − 0.994, P < 0.0001, n = 7; Pearson product moment correlation; percentages arcsin transformed).

Specificity of the Iberian lynx specific marker. The specificity of primers DL7F/CR2bR as lynx-specific primers was high for carnivores found in the  Iberian  peninsula. We never obtained amplification product from  faeces  from  known individuals of several species of carnivores (n = 90) or from field collected  faeces (n = 100) from nonlynx areas. In 17% of cases  there  was  evidence of PCR  inhibition. There- fore,  the  actual  number of nonIberian lynx  faeces  tested was 158.

Robustness of the technique. On  average 92.6%  (SE = 2.35, n = 7  series   of  extractions/amplifications)  of  the   lynx samples were  identified as positive, ranging from  84.1 to

100%  (Table 1).  The  rest   of  the  samples  were   mostly inhibited 6.8% (SE = 2.10) or  were  false  negatives (0.6%, SE = 0.43; Table 1).

When we reamplified the inhibited samples using lower quantities of DNA template, the average percentage of accumulated positives (i.e. considering the sum of all pos- itives), increased to 98.1% (SE = 0.44) when we used 5 µL of template DNA and  to 99.0% (SE = 0.70) when on the sam- ples still inhibited with 5 µL of template DNA we used 2 µL of template DNA  (Table 1). On  average, the  problem of inhibition persisted only in the 0.4% (SE = 0.43) of the sam- ples, and  the rest (mean  = 0.6%, SE = 0.43) were false neg- atives (Table 1).

Two separate PCR using  the same  template DNA  from only one extraction were  enough to avoid  false negatives.

Table 1 Accumulated positive diagnostics, false negatives and inhibited reactions during series of PCR for lynx faecal samples using 10 µL of template DNA, 5 µL of template DNA on samples that were inhibited with 10 µL, and 2 µL of template DNA on samples that remained inhibited using  5 µL. n refers to number of faeces or faeces portions

Accumulated positives-negatives-inhibited (%)

Extraction

10 µL	5 µL	2 µL

Total accumulated

Extraction A.1* (n = 69)	88.4-0-11.6¶ 	97.1-0-2.9	100-0-0	100-0-0

Extraction A.2* (n = 69)	84.1-2.9-13.0	94.2-2.9-2.9	97.1-2.9-0	97.1-2.9-0

Extraction B.1† (n = 69)	88.4-0-11.6	100-0-0	—	100-0-0

Extraction B.2† (n = 67)	91-1.5-7.5	95.5-1.5-3.0	95.5-1.5-3.0	95.5-1.5-3.0

Extraction C (n = 25)	96.0-0-4.0	100-0-0	—	100-0-0

Extraction D (n = 25)	100-0-0	—	—	100-0-0

Extraction F (n = 25)	100-0-0	—	—	100-0-0

Average‡ (n = 7§)	92.6-0.6-6.8	98.1-0.6-1.3	99.0-0.6-0.4	99.0-0.6-0.4

2.35-0.43-2.10	0.94-0.43-0.59	0.70-0.43-0.43	0.70-0.43-0.43

*These are two series of amplifications from the same extraction.

†These are two series of amplifications from the same extraction.

‡Averages in the first row and standard error in the second.

§It refers to number of series of extractions and/or amplifications.

¶In order, data  refer to positives:negatives:inhibited.

able to extract  DNA from the lynx faecal samples (n = 213 faeces or faeces portions) using  our protocols.

Faecal field survey for lynx

We  collected  252 faeces  samples from  throughout Andalusia, of which,  after  applying our  protocol, 26.6% were  classified as Iberian  lynx, 72.2% as negative, 1.4% as PCR inhibited and  1.2% of uncertain diagnostics. Of the three  faeces  samples of uncertain diagnostics, two  were only tested from one extraction, and one was PCR inhibited in all cases except one.

Comparing the  results from  each  series  of  analysis, most  positives were  found in the first amplification of the first extraction (24.6%). Only a few of the remaining faeces samples were diagnosed as positives from a second amplification of the first extraction (3.7%), whereas no new positive was found from additional extractions/ amplifications.

In addition to faeces from Doñana, positive faeces were found in  only  two  other   habitat patches of  Andalusia (Fig. 1). Two of these areas are in the Sierra Morena Moun- tains,  separated by > 100 km.  These  populations are  150 and 250 km from Doñana (Fig. 1). We found lynx faeces in only three of the areas that Rodríguez & Delibes (1992) con- sidered to have the Iberian  lynx in 1988 (Fig. 1).

Discussion

The molecular genetic technique

Methods for species identifications are generally based on the detection of species-specific DNA sequence patterns, either through sequencing followed by phylogenetic analysis (Bartlett & Davidson 1992; Farrell et al. 2000), or by indirect methods, like single-strand conformation polymorphism analysis (SSCP), polymerase chain reaction-restriction fragment length  polymorphism (PCR-RFLP) or diagnostic amplification, that circumvent the cost of sequencing (several  chapters in Clapp 1996). To identify carnivore species,  Farrell  et al. (2000) used  an approach consisting in  amplifying a portion of the  cytochrome b gene  of the mitochondrial genome followed by sequencing to differentiate between four carnivore species in Venezuela. However, simpler approaches involving only PCR amplification and  agarose gel electrophoresis are more appropriate for medium- and  large-scale projects  because are the simplest and  most  economic assays.  Some authors have adopted an approach involving amplification of part of cytochrome b or D-loop  region  of mtDNA with conserved universal primers, followed by digestion with diagnostic  restriction  enzymes  to   distinguish  among

1997a,b). The method that  we adopted to identify Iberian lynx  faecal samples was  based  on the  specific  diagnostic amplification of lynx DNA. In comparison to the restriction- based  assays  used  to identify carnivores, our approach involves fewer steps  (namely DNA isolation, PCR amplification and  agarose gel electrophoresis), minimiz- ing the chances  of contamination, reducing costs and facilitating the  screening of  large   numbers of  samples across broad geographical areas. Furthermore, whereas the digestion-based approach requires the amplification of relatively  long  fragments,  diagnostic  amplification products can be designed to be short  to facilitate  the application of the method to fairly degraded material, such as  faeces  or  hairs.   Finally,  the  use  of  specific  primers permits  the   application  of  the   assay   to  multispecific samples, i.e. the  lynx  DNA  will  be detected even  in the presence of excess nonlynx DNA. This feature is especially useful  for the  analysis of faecal  samples, in which  DNA from the donor species, its prey, microorganisms and often parasites and arthropods occur together. In the restriction- based approach, these diverse DNAs could be coamplified by conserved universal primers, confounding or even totally  preventing the results. One limitation of our approach is that it yields  a yes/no answer, so, if negative, the  identity of the  sample remains unknown. In cases in which it is important to identify the species, whichever it is, several   alternative  species-specific primers  might  be designed and used in parallel amplifications or even in the same  tube  if designed to amplify slightly  different size products. Finally, even though the high  success  of the amplification made it unnecessary in our  case, false negatives arising  from  failed  amplifications might be identified by the  same-tube coamplification of a slightly larger  nonspecific product that  serves  as an  internal amplification control.

The  assay  was  validated by robustness and  reliability tests.  For the  primer pair  DL7F/CR2bR the  assays  were highly robust when applied to lynx of diverse geographical origin.   It  is  therefore unlikely that  there   are  polymor- phisms at the annealing sites, or at least they do not prevent amplification of the diagnostic fragments. However, failed amplifications from museum skins with other primer pairs are most likely due to the lower sensitivity of these primer pairs  when compared with  DL7F/CR2bR in conditions of limiting template. This is particularly clear when compar- ing results for each primer pair from hair samples from the Doñana population. The  assay  based  on  DL7F/CR2bR was the most robust, detecting all lynxes tested independ- ent of their  origin  and  performing well even from traces of degraded DNA.  Although we  cannot  totally  discard the possibility that they were due to intraspecific polymorphisms, which would limit the usefulness of these

primers, this is unlikely in view of the limited mtDNA diversity found  in  Iberian   lynx  ( Johnson   et al. unpub- lished).  Furthermore, our  assay  was  shown to be highly reliable, as false positives were never obtained from a wide screening of  domestic and  wild  carnivores species  that may be sympatric to Iberian  lynx.

The  efficiency  of our  technique in  identifying Iberian lynx faecal samples is high compared with similar methods (e.g. Kohn et al. 1995; Wasser  et al. 1997; Farrell et al. 2000). Several features of our methodology appeared to be import- ant to our high  success  rate. First, the use of PBS washes for faecal extractions was much  more efficient than the use of  faecal  homogenates,  and   it  was   also  simpler  as  it required fewer  steps  for the extraction. Second,  although our  extraction success  was  very  high  (we  were  able  to extract  lynx  DNA  in all of 213 attempts), 0 –11.6% of the times we obtained results only after conducting other PCR with   the  same   extract.   The  PCR  inhibition was  easily solved  by decreasing the quantity of DNA template in the reaction mix.

Finally, the high success rate of the technique was due in part  to the small mtDNA fragment that  was amplified. Frantzen et al. (1998) also  reported high  success  rates  of amplified mtDNA in faecal samples of baboons (Papio cynocephalus ursinus)  when the  expected products were short  (190 bp).  For medium- and  long  products, success rates decreased slightly  (Frantzen et al. 1998).

Two of the primer pairs designed to be specific or Iberian lynx did  amplify the other  three  lynx species,  providing a potential marker for the  genus and  for the  species  in areas where they do not overlap. However, their use as dia- gnostic tools for these species should be further evaluated, testing  both  for specificity  and  robustness as we did  for the Iberian  lynx.

Applicability of the technique to estimate the distribution area of elusive carnivores

The  results of this  study show  that  the  method can  be reliably   applied  to  field  surveys  of  Iberian   lynx.  The efficacy of the technique is very  high,  even  for old faeces samples collected  in a variety of weather conditions. The technique is also robust, with  only a very  low probability of false positives. Reliable use in old faeces is particularly important in studies on the distribution of species such as the   Iberian   lynx   that   are   scarce   and   present  in  low densities.

The results of the field survey for Iberian  lynx in Andalusia confirmed the high  efficacy of the technique, as  all  positive lynx  samples were  detected from  one first extraction of faecal samples. Nevertheless, additional DNA  extractions and  PCR  amplifications with  samples that gave uncertain or unconvinced results in a given area proved to be important. Two of the initial  positive results

could  not be confirmed in subsequent PCRs, demonstrat- ing that  weak  results should be confirmed to avoid  false positives.

Faeces age did not greatly affect the efficacy of the technique. That  the molecular technique works  well for old faeces samples is of particular importance because medium-aged and  old  faeces samples are the  most  com- monly  found in the field for species  such  as the Iberian lynx that  live at low population densities. If fresh,  well- conserved faeces samples were  necessary for this tech- nique,  its applicability for field sampling would have restricted  to  those   few  circumstances  of  abnormally high local density or to very common species.

In designing the field collection  of faecal samples, sev- eral factors should be considered. Farrell et al. (2000) found that  amplification success  was  higher for faecal  samples collected in the dry season (66%) than for samples collected in the wet season (28%). Although this will likely be a con- sideration for some  studies, we were  able to successfully amplify lynx DNA from samples collected  both in dry and wet seasons. Some faeces collected in the wet season (November 1999) had  even  been  under water for several days.

Another important consideration in the timing of field samples is whether the target  species exhibits any seasonal pattern of marking behaviour with  faeces, or if there  are times of the year when encountering faeces is more likely. For instance, Eurasian otters,  defecate  more  frequently in conspicuous sites in winter and early spring (Macdonald & Mason  1987), defecation rates of coyotes, Canis latrans, are higher in summer when they  consumed a higher propor- tion of fruit  (Andelt & Andelt 1984), and  in southwestern Spain coprophagous beetles  are more  abundant in spring and  summer (Revilla 1998), and  can destroy faeces in minutes (personal observations). Nevertheless, most carni- vores defecate  in visible and  predictable sites (Macdonald

1980; Roper et al. 1986; Robinson & Delibes 1988; Vila et al.

1994), increasing the potential of the proposed technique. Perhaps the timing of our sampling reduced the number of patches where faeces were  found during our field survey in Andalusia (28 of 73 visited).

Distribution area of Iberian lynx

Our  field  survey was  not  specifically designed to accurately determine the distribution of the Iberian lynx in Andalusia. However, samples were collected from a broad area including places where it seemed clear that there were lynx  15 years  ago  (Rodríguez & Delibes  1992). Although many  areas  suspected to have  lynx  were  sampled, lynx faeces were collected  in only two of these areas. Both areas are in Sierra Morena mountains, but are probably isolated from each other. The one furthest east was predicted to be the largest  remaining lynx habitat and  to have the highest

results reflect the actual  status of lynx in Andalusia, they may   almost   exclusively  survive  in   the   largest   patch detected 15 years  ago.  Unfortunately, this  would be  in agreement with  previous predictions about  extinction patterns for vertebrates (Diamond 1984; Pimm  et al. 1988; Burkey  1995), and  with  the finding that,  by 1988, Iberian lynx  had  disappeared from  many  of the  smaller  patches they had  occupied in 1960 (Rodríguez & Delibes 1990). In addition to  these  localities  in  Sierra  Morena, lynx  also survive in the Doñana area, where intensive radiotracking of the population has taken  place during the last 17 years (e.g. Ferreras et al. 1997; Palomares et al. 2001). Although the  Doñana population consists   of  fewer  than  50 indi- viduals (Palomares et al. 1991), it represents the efforts by both national and  local governments to conserve the lynx (Aymerich 1990).

Urgent studies on the accurate distribution of lynx are needed. Lynx usually defecate along the borders and cross- ing  of  trails  (Robinson & Delibes  1988) and  prominent places (personal observation), making it feasible for trained observers to survey for faeces. However, other  studies to determine the  best  time  of year  to conduct field  surveys should also be carried out to maximize the efficiency of sur- vey efforts. Accurate determination of the presence of lynx in Spain’s  many  isolated habitats is crucial  for design- ing future management and  conservation plans.  Because, Iberian lynx live in isolated metapopulations, where dispersal is primordial for the survival of the species in most patches (Gaona  et al. 1998), large-scale field  studies focusing on rates  of patch  occupancy as a function of size, shape  and isolation will also be important in developing a landscape ecology  basis  for  the  better  conservation of the  species. There is now hope that the needed information on lynx dis- tribution and presence can be confidently obtained by sam- pling for faeces.

Acknowledgements

The  research was  supported by  DGICYT  and  DGES  (projects PB90-1018, PB94-0480 and  PB97-1163), Consejería de Medio Ambiente de la Junta  de Andalucía and  US−Spain Joint Commission for  Scientific  and  Technological Cooperation.  We appreciate the collaboration of EGMASA, who conducted portions of the systematic surveys, G. Ruiz, J. Roman, N. Fernández, E. Revilla, J. Calzada, J.C. Rivilla and  others  belonging to Ecologistas en Acción  of  Andalusia  who   helped with   the fieldwork, and  E. Eizirik,  J. Martenson, J. Kim, A. Garfinkel and   J. Page  for  their   advice   and   support in  the  laboratory. Zoológico  de  Jerez,  Cañada Real,  La Dehesa  of Riopar,  Museo Nacional de Ciencias  Naturales, Doñana Biological Station scientific  collection,  Instituto da Consevaão da Natureza of Portugal, Vallcalent  and J. Velarde  provided samples of captive animals or collection  specimens. L.S. Mills and  two anonymous referees  improved with  their  comments an  earlier  draft  of the manuscript.

Andelt WF, Andelt SH (1984) Diet bias in scat depositions — rate surveys of coyote density. Wildlife Society Bulletin, 12, 74 – 77. Aymerich M (1990) Management of a Lynx Population in the Doñana

National Park. Seminar on the situation, conservation needs, and reintroduction of lynx in Europe, Neûchatel, Switzerland, 17–19

October  1990, pp. 33 – 35. Council  of Europe, Strasbourg. Bartlett  SE, Davidson WS (1992) FINS (forensically informative

nucleotide sequencing): a procedure for identifying the animal origin  of biological  specimens. Biotechniques, 12, 408 – 411.

Beltrán  JF, Delibes  M (1994) Environmental determinants of cirdadian activity  of free-ranging Iberian  lynxes.  Journal of Mammalogy, 75, 382 – 393.

Burkey  TV (1995) Extinction rates  in archipelagoes: implications for populations in fragmented habitats. Conservation Biology, 9,

527–541.

Castro LR, Palma L (1996) The current status, distribution and con- servation of Iberian  lynx in Portugal. Journal of Wildlife Research,

2, 179 –181.

Clapp JP (1996) Species Diagnostics Protocols: PCR and Other Nucleic

Acid Methods. Humana Press, Totowa,  NJ.

Delibes M (1980) Feeding ecology of the Spanish lynx in the Coto

Doñana. Acta Theriologica, 25, 309 – 324.

Diamond JM (1984) Normal extinction of isolated populations. In: Extinctions (ed. Nitecki MH), pp. 191– 246. University of Chicago Press, Chicago.

Ernest  HB, Penedo MCT, May BP, Syvanen M, Boyce WM (2000) Molecular tracking of mountain lions  in the  Yosemite  Valley region  in California: genetic  analysis using  microsatellites and faecal DNA. Molecular Ecology, 9, 433 – 441.

Farrell  LE, Roman  J, Sunquist ME (2000) Dietary  separation of sympatric carnivores identified by molecular analysis of scats. Molecular Ecology, 9, 1583 –1590.

Ferreras P, Beltrán JF, Aldama JJ, Delibes M (1997) Spatial  organ- ization  and  land  tenure system of the endangered Iberian  lynx (Lynx pardinus, Temminck, 1824). Journal of Zoology, London, 243,

163 –189.

Flagstad O, Roed K, Stacy JE, Jakobsen KS (1999) Reliable noninvasive genotyping based on excremental PCR of nuclear DNA purified with a magnetic bead protocol. Molecular Ecology, 8, 879 – 883.

Foran  DR, Crooks  KR, Minta  SC (1997a) Species  identification from  scat:  an  unambiguous genetic  method. Wildlife Society Bulletin, 25, 835 – 839.

Foran DR, Minta SC, Heinemeyer KS (1997b) DNA-based analysis of  hair   to  identify  species   and   individuals  for  population research and monitoring. Wildlife Society Bulletin, 25, 840 – 847.

Frantzen MAJ, Silk JB, Ferguson JWH,  Wayne  RK, Kohn  MH (1998) Empirical evaluation of preservation methods for faecal DNA. Molecular Ecology, 7, 1423 –1428.

Gagneux P, Boesch C, Woodruff DS (1997) Microsatellite scoring errors associated with noninvasive genotyping based on nuclear DNA amplified from shed hair. Molecular Ecology, 6, 861– 868.

Gaona P, Ferreras P, Delibes M (1998) Dynamics and viability  of a metapopulation of the endangered Iberian lynx (Lynx pardinus). Ecological Monographs, 68, 349 – 370.

Goetz  SE, Hamilton SR, Vogelstein B (1985) Purification of DNA from formaldehyde fixed and paraffin embedded human tissue. Biochemical and Biophysical Research Communications, 130, 118–126. Hall LM, Willcox MS, Jones DS (1997) Association of enzyme inhi- bition  with  methods of museum skin  press.  Biotechniques, 22,

928 – 930.

Hansen MM, Jacobsen L (1999) Identification of mustelid species: otter  (Lutra lutra), American mink  (Mustela vison) and  polecat (Mustela putorius), by analysis of DNA from faecal samples. Journal of Zoology, London, 247, 177–181.

Höss  M, Kohn  M, Paäbo  S, Knauer F, Schröder W (1992) Excre- ment analysis by PCR. Nature, 359, 199.

Janczewski DN, Modi WS, Stephens JC, O’Brien SJ (1995) Molecu- lar evolution of mitochondrial 12S RNA and  cytochrome b sequences in the pantherine lineage of Felidae. Molecular Biology and Evolution, 12, 690 –707.

Kohn M, Knauer F, Stoffella A, Schröder W, Pääbo  S (1995) Con- servation genetics  of the European brown bear — a study using excremental PCR of nuclear and  mitochondrial sequences. Molecular Ecology, 4, 95 –103.

Kohn MH, Wayne  RK (1997) Facts from feces revisited. Trends in

Ecology and Evolution, 12, 223 – 227.

Kohn MH, York EC, Kamradt DA et al. (1999) Estimating popula- tion size by genotyping faeces. Proceedings of the Royal Society of London B, 266, 657– 663.

Kwok S, Kellogg DE, McKinney  N et al. (1990) Effects of primer− template mismatches on the polymerase chain reaction:  human immunodeficiency virus  type 1 model  studies. Nucleic Acids Research, 18, 999 –1005.

López  JV, Cevario S, O’Brien SJ (1996) Complete nucleotide sequences  of  the   domestic  cat   (Felis  catus)  mitochondrial genome and a transposed mtDNA tandem repeat (Numt) in the nuclear genome. Genomics, 33, 229 – 246.

Macdonald DW (1980) Patterns of scent marking with  urine  and feces amongst carnivore communities. Symposium of the Zoolog- ical Society of London, 45, 107–139.

Macdonald SM, Mason  CF (1987) Seasonal  marking in an  otter population. Acta Theriologica, 32, 449 – 462.

Mills LS, Citta  JJ, Lair KP, Schwartz MK, Tallmon DA (2000a) Estimating animal  abundance using  noninvasive DNA  sam- pling: promise and pitfalls.  Ecological Applications, 10, 283 – 294. Mills LS, Pilgrim  KL, Schwartz MK, McKelvey K (2000b) Identify- ing  lynx  and  other  North American felids  based  on  mtDNA

analysis. Conservation Genetics, 1, 285 – 288.

Morin  PA, Woodruff DS (1996) Noninvasive genotyping for vertebrate conservation. In: Molecular Genetic Approaches in Conservation (eds  Smith  TB, Wayne  RK), pp.  298 – 313. Oxford University Press, New York.

Mowat G, Strobeck C (2000) Estimating population size of grizzly bears  using  hair  capture, DNA  profiling, and  mark−recapture analysis. Journal of Wildlife Management, 64, 183 –193.

Nowell K, Jackson P (1996) Wild Cats: Status Survey and Conser- vation Action Plan. IUCN Publications, Burlington Press, Cambridge.

Palomares F, Delibes  M, Ferreras P et al. (2000) Iberian  lynx in a fragmented landscape: predispersal, dispersal and  postdisper- sal habitats. Conservation Biology, 14, 809 – 818.

Palomares F, Delibes M, Revilla M, Calzada J, Fedriani JM (2001) Spatial ecology of the Iberian lynx and abundance of its primary prey,  the European rabbit,  in a heterogeneous environment. Wildlife Monographs, 148, 1– 36.

Palomares F, Rodríguez A, Laffitte A, Delibes M (1991) The status and distribution of the Iberian lynx Felis pardina (Temminck) in Coto Doñana area, SW Spain. Biological Conservation, 57, 159 –169.

Parker PG, Snow  AA, Schug  MD, Booton  GC, Fuerst  PA (1998) What  molecules can  tell  us  about  populations: choosing and using  a molecular marker. Ecology, 79, 361– 382.

Paxinos  E, McIntosh C, Ralls K, Fleischer  R (1997) A noninvasive method for distinguishing among canid  species:  amplification and enzyme restriction of DNA from dung. Molecular Ecology, 6,

483 – 486.

Pilgrim  KL, Boyd DK, Forbes  SH (1998) Testing  for wolf− coyote hybridization in  the  Rocky  Mountains using   mitochondrial DNA. Journal of Wildlife Management, 62, 683 – 689.

Pimm  SL, Jones  L, Diamond J (1988) On  the  risk  of extinction.

American Naturalist, 132, 757 – 785.

Revilla  E (1998) Organización social  del  tejón  en  Doñana. PhD Thesis, University of León.

Robinson IH, Delibes  M (1988) The distribution of faeces by the Spanish lynx (Felis pardina). Journal of Zoology, London, 216, 577–582. Rodríguez A, Delibes  M (1990) El Lince Ibérico En españa: Dis-

tribución y Problemas de Conservación. ICONA-CSIC,  Madrid. Rodríguez A, Delibes  M (1992) Current range  and  status of the

Iberian  lynx Felis pardina Temminck, 1824 in Spain. Biological

Conservation, 61, 189 –196.

Roper  TJ, Shepherdson DJ, Davies  JM (1986) Scent marking with faeces and  anal secretion in the European badger (Meles meles): seasonal and  spatial characteristics of latrine use in relation to territoriality. Behaviour, 97, 94 –117.

Sambrook E, Fritsch  F, Maniatis T (1989) Molecular Cloning. Cold

Spring  Harbor Laboratory Press, Cold Spring  Harbor, NY. Schwartz MK, Tallmon DA, Luikart G (1998) Review  of DNA-

based  census  and  effective  population size estimators. Animal

Conservation, 1, 293 – 299.

Shedlock  AM, Haygood MG, Pietsch  TW, Bentzen  P (1997) Enhanced DNA extraction and PCR amplification of mito- chondrial genes  from  formalin-fixed museum specimens. Biotechniques, 22, 394 – 396.

Taberlet  P, Camarra J-J, Griffin S et al. (1997) Noninvasive genetic tracking of the  endangered Pyrenean brown bear  population. Molecular Ecology, 6, 869 – 876.

Taberlet  P, Waits LP, Luikart G (1999) Noninvasive genetic  sam- pling:  look before  you leap. Trends in Ecology and Evolution, 14,

323 – 327.

Tikel  D, Blair  D, Marsh  D (1996) Marine  mammal faeces  as  a source of DNA. Molecular Ecology, 5, 456 – 457.

Vila C, Urios V, Castroviejo J (1994) Use of faeces for scent marking in Iberian  wolves  (Canis lupus). Canadian Journal of Zoology, 72,

374 – 377.

Walsh PS, Metzger DA, Higuchi R (1991) Chelex 100 as a medium for simple  extraction of DNA  for PCR-based typing from  forensic material. Biotechniques, 10, 506 – 513.

Wasser  SK, Houston CS, Koehler  GM, Cadd GG, Fain SR (1997) Techniques for application of faecal DNA methods to field studies of Ursids.  Molecular Ecology, 6, 1091–1097.

Francisco  Palomares works  in conservation biology,  during the last few years  focusing his research on issues  relating to the conservation and  management of the  endangered Iberian  lynx, other   competing  sympatric  carnivores  and   their   prey.   The research interests of Jose Antonio Godoy,  Ana Piriz, Stephen O’Brien and  Warren Johnson  are conservation genetics  and molecular ecology,  including evolutionary biology  of different taxa and  the development of molecular techniques. Additionally Stephen O’Brien and  Warren Johnson  focus on comparative genomics, host genetic variation, and infectious diseases.

Appendix I

Species, type and geographical origin  of samples used  in this study

Faecal samples 	Other  type of samples

| Species | Number | Origin |  | Number† | Origin |
| --- | --- | --- | --- | --- | --- |
| Iberian lynx, Lynx pardinus | 10 | Central Population |  | 471,2,3,4,5 | Doñana |
|  | 1 | Doñana |  | 521,3,4,6,9 | Central Population |
|  | — |  |  | 84,6,7,8,9 | Sierra Gata |
|  | — |  |  | 34,6 | Unknown |
|  | — |  |  | 36,9 | Western Sierra Morena |
|  | — |  |  | 19 | Mira |
| Wild cat, Felis silvestris | 20 | Cádiz*, Madrid*, |  | 351,3 | Lerida*, Navarra, Badajoz, |
|  |  | Albacete*, Jaén |  |  | Palencia, Cádiz*, Madrid*, |
|  |  |  |  |  | Albacete*, Jaén |
| Domestic cat, Felis catus | 10 | Sevilla, Huelva |  | 81 | Córdoba |
| European lynx, Lynx lynx |  |  |  | 61 | Switzerland, unknown |
| Canadian lynx, Lynx canadensis |  |  |  | 61 | Maine, unknown |
| Bobcat, Lynx rufus | 8 | Cádiz* |  | 61 | Florida |
| European genet, Genetta genetta | 10 | Madrid*, Albacete* |  | 71,2,3 | Doñana, Huelva, Madrid*, |
|  |  |  |  |  | unknown |
| Eurasian otter, Lutra lutra | — |  |  | 62,3 | Cadiz, Sevilla, Extremadura, |
|  |  |  |  |  | Huelva |
| Pine marten, Martes martes | — |  |  | 14 | Navarra |
| Weasel, Mustela nivalis | — |  |  | 13 | Sevilla |
| Stone marten, Martes foina | — |  |  | 22,3 | Huelva, unknown |
| Wolf, Canis lupus | 6 | Albacete* |  | 41 | Madrid*, Cádiz*, Albacete* |
| Egyptian mongoose, Herpestes ichneumon | 7 | Cádiz* |  | 111,2,3 | Doñana, Jaén, Cádiz* |
| Domestic dog, Canis familiaris | 10 | Madrid, Sevilla |  | 131 | Córdoba, Madrid |
| European badger, Meles meles | 9 | Cádiz*, Doñana |  | 161 | Doñana, Jaén |
| Red fox, Vulpes vulpes | 10 | Madrid*, Albacete*, Jaén |  | 161 | Doñana, Navarra, Jaén, |
|  |  |  |  |  | Madrid* |

*Samples from captive individuals.

†Superscript numbers refer to type of sample: 1, blood; 2, muscle; 3, kidney;  4, dry skin; 5, hair; 6, foot pad; 7, nose; 8, ear; 9, museum skin.